## Report
SPINE PARAMETER SHEET - REPORT
MANUFACTURER NAME
MODEL
DEVICE TYPE
TEST SPECIFICATION
EEBus_SPINE_TestSpec_V1.1.0
NAME OF TESTER(S)
Overall Status |  | Any | EG | CS | Total
Number of TCs |  | 20 | 4 | 7 | 31
Test cycle duration |  | 0
Execution Status |  | Any | EG | CS | Total
Number of TCs executed |  | 0 | 0 | 0 | 0
Number of passed TCs |  | 0 | 0 | 0 | 0
Passed percentage |  | 0% | 0% | 0% | 0%
Number of failed TCs |  | 0 | 0 | 0 | 0
Failed percentage |  | 0% | 0% | 0% | 0%
Number of not applicable TCs |  | 0 | 0 | 0 | 0
Not applicable percentage |  | 0% | 0% | 0% | 0%

## Test Cases
SPINE PARAMETER SHEET - TEST CASES
DUT CREDENTIALS & ROLES |  |  |  | DATA TYPE | DESCRIPTION / CONSTRAINTS
DUT Role |  |  |  | Enum | DUT protocol role (Choices: ''Server'', ''Client'', ''Server & Client''). Test cases marked as ''Special'' apply to all DUTs regardless of role. Note: For a certifiable DUT this is effectively always "Server & Client" (both roles are required, e.g. for the LPC/LPP heartbeat). The field is retained for documentation; the applicability filter uses the DUT Actor.
DUT Actor |  |  |  | Enum | Use Case actor(s) the DUT implements (Choices: "EG", "CS", "EG & CS"). Determines which actor-specific test cases apply.
MANUFACTURER DECLARATIONS |  |  |  | DATA TYPE | DESCRIPTION / CONSTRAINTS
PAR_initialTimeoutSupported |  |  |  | Enum | 30s timeout support for uncommunicative initial connections (Choices: "yes" (recommended), "no").
PAR_addressChangeRecovery |  |  |  | Enum | How the DUT recovers Subscriptions/Bindings after a remote server address change (Choices: "session-only", "persistent-auto-recovery").
PAR_clientDetailedDiscoverySupported |  |  |  | Enum | Whether the DUT initiates a nodeManagementDetailedDiscoveryData read after establishing a new connection (Choices: ''yes'', ''no'').
PAR_clientSubscriptionSupported |  |  |  | Enum | Whether the DUT actively establishes subscriptions to remote server features (Choices: ''yes'', ''no''). Note: For EEBUS Use Cases, only ''yes'' is permitted.
PAR_spineVersion |  |  |  | String | SPINE version supported by the DUT (minimum ''1.3.0'' ).
PAR_limitationUseCase |  |  |  | Enum | Active Use Case for runtime tests (Choices: ''LPC'', ''LPP'').
PAYLOAD PARAMETERS |  |  |  | DATA TYPE | DESCRIPTION / CONSTRAINTS
PAR_lpcLpp_Test_Value1 |  |  |  | Integer | Primary valid LoadControl limit value.
PAR_lpcLpp_Test_Value2 |  |  |  | Integer | Secondary valid LoadControl limit value (must differ from PAR_lpcLpp_Test_Value1).
Test ID | DUT ROLE | DUT ACTOR | TEST DATE | TEST VERDICT | COMMENTS / NOTES / ADDITIONS
TC_SPINE_COMP_001 | Special | Any
TC_SPINE_COMP_002 | Special | Any
TC_SPINE_COMP_003 | Special | Any
TC_SPINE_COMP_004 | Special | Any
TC_SPINE_COMP_005 | Special | Any
TC_SPINE_COMP_006 | Special | Any
TC_SPINE_DATA_001 | Special | Any
TC_SPINE_DATA_002 | Special | Any
TC_SPINE_DATA_003 | Special | Any
TC_SPINE_DATA_004 | Special | Any
TC_SPINE_DATA_005 | Special | Any
TC_SPINE_DATA_006 | Special | Any
TC_SPINE_DATA_007 | Special | Any
TC_SPINE_DATA_008 | Special | Any
TC_SPINE_FC_001 | Special | Any
TC_SPINE_DDISC_001 | Special | Any
TC_SPINE_DDISC_002 | Special | Any
TC_SPINE_BIND_001 | Special | Any
TC_SPINE_BIND_002 | Server | CS
TC_SPINE_SUBS_001 | Special | Any
TC_SPINE_SUBS_002 | Special | Any
TC_SPINE_ENTITY_001 | Client | EG
TC_SPINE_ENTITY_002 | Client | CS
TC_SPINE_RTS_001 | Server | CS
TC_SPINE_RTS_002 | Server | CS
TC_SPINE_RTS_003 | Server | CS
TC_SPINE_RTS_004 | Server | CS
TC_SPINE_RTS_005 | Server | CS
TC_SPINE_RTC_001 | Client | EG
TC_SPINE_RTC_002 | Client | EG
TC_SPINE_RTC_003 | Client | EG

## Comments
SPINE PARAMETER SHEET - COMMENTS
TEST NO. | TEST DATE | GENERAL QUESTIONS / COMMENTS

## Legend
SPINE PARAMETER SHEET - LEGEND
Revisions
Version | Date/Editor
V1.0.0 | 2026-07-15 - AH/AS
V1.1.0 | 2026-09-23 - AH/AS
Formatting rules
Cells with a white background need to be manually filled in.
Greyed-out cells are either filled in automatically or do not need to be filled by the user for the chosen DUT Actor (and for the applicable manufacturer declarations).
Test verdict | According to the chosen test verdict its background is colorized automatically.
Passed
Failed
Not applicable (background of whole line is greyed-out)